Explosive and Flammable Hazards (CEST and EA)

| General requirements | Legislation | Regulation |
| --- | --- | --- |
| HUD-assisted projects must meet Acceptable Separation Distance (ASD) requirements to protect them from explosive and flammable hazards. | N/A | 24 CFR Part 51 Subpart C |
| Reference |  |  |
| https://www.hudexchange.info/environmental-review/explosive-and-flammable-facilities |  |  |

  - Does the proposed HUD-assisted project include a hazardous facility (a facility that mainly stores, handles or processes flammable or combustible chemicals such as bulk fuel storage facilities and refineries)?

☐ No

Continue to Question 2.

☐ Yes

Explain:

Continue to Question 5.

- Does this project include any of the following activities:  development, construction, rehabilitation that will increase residential densities, or conversion?

☐ No

Based on the response, the review is in compliance with this section. Continue to  the Worksheet Summary below.

☐ Yes

Continue to Question 3.

- Within 1 mile of the project site, are there any current or planned stationary aboveground storage containers:

- Of more than 100 gallon capacity, containing common liquid industrial fuels OR

- Of any capacity, containing hazardous liquids or gases that are not common liquid industrial fuels?

☐ No

Based on the response, the review is in compliance with this section. Continue to the Worksheet Summary below. Provide all documents used to make your determination.

☐ Yes

Continue to Question 4.

- Is the Separation Distance from the project acceptable based on standards in the Regulation?

Please visit HUD’s website for information on calculating Acceptable Separation Distance.

☐ Yes

Based on the response, the review is in compliance with this section. Continue to the Worksheet Summary below. Provide map(s) showing the location of the project site relative to any tanks and your separation distance calculations.  If the map identifies more than one tank, please identify the tank you have chosen as the “assessed tank.”

☐ No

Provide map(s) showing the location of the project site relative to any tanks and your separation distance calculations.  If the map identifies more than one tank, please identify the tank you have chosen as the “assessed tank.”

Continue to Question 6.

- Is the hazardous facility located at an acceptable separation distance from residences and any other facility or area where people may congregate or be present?

Please visit HUD’s website for information on calculating Acceptable Separation Distance.

☐ Yes

Based on the response, the review is in compliance with this section. Continue to the Worksheet Summary below. Provide map(s) showing the location of the project site relative to residences and any other facility or area where people congregate or are present and your separation distance calculations.

☐ No

Provide map(s) showing the location of the project site relative to residences and any other facility or area where people congregate or are present and your separation distance calculations.

Continue to Question 6.

- For the project to be brought into compliance with this section, all adverse impacts must be mitigated. Explain in detail the exact measures that must be implemented to make the Separation Distance acceptable, including the timeline for implementation. If negative effects cannot be mitigated, cancel the project at this location.

Note that only licensed professional engineers should design and implement blast barriers. If a barrier will be used or the project will be modified to compensate for an unacceptable separation distance, provide approval from a licensed professional engineer.

Worksheet Summary

Compliance Determination

Provide a clear description of your determination and a synopsis of the information that it was based on, such as:

- Map panel numbers and dates

- Names of all consulted parties and relevant consultation dates

- Names of plans or reports and relevant page numbers

- Any additional requirements specific to your region

Are formal compliance steps or mitigation required?

☐ Yes

☐ No